■■■■■■■■,

■■■■,

■■■■,

■■■■,

■■■■,

■■■■■■■■

Date 15/12/23

Re:	Compliance with conditions attached to Section 4 discharge licence reference WPL 11: Garden Village, grant date 11th December 1991 issued under Local Government (Water Pollution) Act 1977 (as amended).

A chara,

Thank you for your response of 11th December in the matter above; the remedial works carried out are noted. We also requested that your compliance monitoring results be submitted as per the discharge licence conditions for this site. None have been received in 2023 to date. This is the third and final request for same. You are required to submit these as per the frequency specified to demonstrate you are monitoring the performance of the wastewater treatment plant for compliance with discharge licence limits and the health of the receiving water.

If the council does not receive a satisfactory response to this issue within 1 month of this notice the council will have no option but to commence legal proceedings under the water pollution act.

Is mise le meas,

_______________

Cc: Ken McAvoy 3C Project Services, 27 Westland Square, Pearse St, Dublin 2, D02 RW13.

CC: Brendan Fay at bfay@turbine.ie